{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["xport"],"not_rendered":{"charts":1,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"xport","index":0,"n_rows":50,"n_cols":14,"rows_kept":50,"cut":false,"hidden":false,"merged":[]}
["時刻","最高温度","最低温度","合計日射","サンプル数","平均日射","最大日射","有効電力(W)","無効電力(Ver)","電圧(V)","電流(A)","カウント"]
[41091.020833333336,21.8,21.6,752,1729,0,4,4.7488888888888887,8.3594444444444438,104.33261111111122,9.1900000000000023E-2,1800]
[41091.041666666664,21.8,21.8,808,1728,0,4,4.6622222222222218,8.4683333333333337,104.78244444444428,9.2505555555555993E-2,1800,null,{"$f":"IF(M3=0,\"\",L3/M3)","v":""}]
[41091.0625,21.8,21.2,782,1728,0,4,4.8522222222222222,8.0388888888888896,104.02849999999991,8.9572222222222594E-2,1800]
[41091.083333333336,21.4,21,764,1729,0,4,4.9050000000000002,7.64,103.64083333333305,8.7327777777778004E-2,1800]
[41091.104166666664,21.2,20.8,786,1729,0,4,4.9666666666666668,7.5938888888888885,103.76116666666658,8.6738888888889212E-2,1800]
[41091.125,21,20.6,706,1727,0,4,4.8538888888888891,7.6449999999999996,103.16588888888897,8.7277777777777968E-2,1800]
[41091.145833333336,20.8,20.6,694,1728,0,4,4.8122222222222222,7.5949999999999998,102.94611111111105,8.697777777777789E-2,1800]
[41091.166666666664,20.8,20.399999999999999,770,1727,0,4,4.93,7.9161111111111113,103.32999999999986,8.9305555555555582E-2,1800]
[41091.1875,20.6,20.399999999999999,820,1728,0,4,4.9450000000000003,7.8377777777777782,103.43966666666672,8.8488888888888936E-2,1800]
[41091.208333333336,20.6,20.399999999999999,3086,1727,1,8,4.8572222222222221,7.556111111111111,103.06966666666656,8.6200000000000276E-2,1800]
[41091.229166666664,20.6,20.399999999999999,13088,1729,7,18,5.1922222222222221,7.1577777777777776,103.60261111111113,8.4516666666666726E-2,1800]
[41091.25,20.6,20.399999999999999,20874,1730,12,20,5.012777777777778,7.7855555555555558,104.25144444444427,8.8099999999999859E-2,1800]
[41091.270833333336,20.6,20.2,16166,1729,9,14,5.2172222222222224,7.8144444444444447,104.27661111111104,8.928888888888932E-2,1800]
[41091.291666666664,20.399999999999999,20.2,55922,1730,32,74,5.165,7.5705555555555559,104.19966666666647,8.7194444444444227E-2,1800]
[41091.3125,20.6,20.2,124688,1728,72,84,5.0388888888888888,7.8722222222222218,105.77494444444463,8.818333333333353E-2,1800]
[41091.333333333336,20.8,20.6,149192,1730,86,108,5.1355555555555554,7.86,105.50827777777782,8.8433333333333294E-2,1800]
[41091.354166666664,21,20.6,188298,1729,108,124,4.9649999999999999,7.9266666666666667,105.80400000000016,8.8116666666666815E-2,1800]
[41091.375,21.2,20.6,180876,1729,104,118,5.1816666666666666,7.621666666666667,105.44561111111128,8.6705555555555855E-2,1800]
[41091.395833333336,21.2,20.8,233000,1729,134,166,5.1633333333333331,7.8866666666666667,105.2214444444443,8.8722222222222202E-2,1800]
[41091.416666666664,21.4,20.6,172690,1728,99,124,4.9983333333333331,7.6361111111111111,104.73822222222226,8.6438888888889065E-2,1800]
[41090.4375]
[41090.458333333336]
[41090.479166666664]
[41090.5]
[41090.520833333336]
[41090.541666666664]
[41090.5625]
[41090.583333333336]
[41090.604166666664]
[41090.625]
[41090.645833333336]
[41090.666666666664]
[41090.6875]
[41090.708333333336]
[41090.729166666664]
[41090.75]
[41090.770833333336]
[41090.791666666664]
[41090.8125]
[41090.833333333336]
[41090.854166666664]
[41090.875]
[41090.895833333336]
[41090.916666666664]
[41090.9375]
[41090.958333333336]
[41090.979166666664]
[41091]
["最高・最低",{"$f":"MAX(B2:B49)","v":21.8},{"$f":"MIN(C2:C49)","v":20.2},{"$f":"SUM(D2:D49)","v":1164762},{"$f":"SUM(E2:E49)","v":34571},{"$f":"IF(E50=0,\"\",INT(AVERAGE(F2:F49)))","v":33},{"$f":"MAX(G2:G49)","v":166}]